SporeGen Ltd

Bourne Laboratories

Royal Holloway, University of London

Egham, Surrey

TW20 0EX, UK

Tel: +44-(0)1784-443760

Mob: +44 (0)7733-425024

Email: info@sporegen.com

www.sporegen.com

Product Data Sheet

CODE                                	NAME

SPG03	Polyclonal antibodies (rabbit) raised against purified spores of Clostridium difficile strain SH1 (ribotype 078)

DETAILS

Description	Polyclonal antibodies to Clostridium difficile SH1 spore antigen

Host					Rabbit

Isotype					IgG

Class					Polyclonal

Type					Antibody

Tested species reactivity		              Bacteria

Immunogen				Spores of Clostridium difficile SH1 (ribotype 078)

TESTED APPLICATIONS          	            DILUTION*

ELISA                                     		1:2000 – 1:4000

Western Blot                                    	1:1000 – 1:4000

* Suggested working dilutions are given as a guide only. The user is recommended to titrate the product for use in their own experiment using appropriate negative and positive controls.

FORM INFORMATION

Form					Liquid

Volume					250 µl

Concentration				500 µg at 2 mg/ml

Purity					Protein A purified

Storage buffer				PBS, pH 7,4

Preservative				0.05 % sodium azide

Precaution of use	This product contains sodium azide: a POISONOUS AND    HAZARDOUS SUBSTANCE which should be handled by trained staff only.

Storage instructions	Shipped at 4°C. Upon delivery aliquot and store at -20°C. Avoid freeze / thaw cycles.

Storage comments	The antibody is stable at 2-8°C for up to 1 month. For long term storage, aliquot the antibody and store at -20°C or below. Avoid repeated freeze-thaw cycles.

Quality control results

Antibodies: 		rabbit anti-C. difficile SH1 spore polyclonal antibody (SPG03)

- Assay: Indirect ELISA

Coated antigens: 	A: 	C. difficile SH1 spores

B: 	B. subtilis spores (negative control)

Coating concentration: 	108 spores/ml

Volume per well: 50µl

Coating buffer: Phosphate Buffered Saline, pH 7.4

Secondary antibody: anti-Rabbit IgG (A9169, Sigma), dilution 1:8000

Table 1. ELISA results for anti-C. difficile SH1 spore polyclonal antibody

| Dilution | A | B |
| --- | --- | --- |
| 1:1000 | 1.346 | 0.078 |
| 1:2000 | 1.283 | 0.071 |
| 1:4000 | 1.163 | 0.061 |
| 1:8000 | 1.117 | 0.061 |
| 1:16000 | 0.980 | 0.065 |
| 1:32000 | 0.676 | 0.059 |
| 1:64000 | 0.490 | 0.056 |
| 1:128000 | 0.313 | 0.057 |
| 1:256000 | 0.251 | 0.054 |
| blank | 0.204 | 0.056 |
| Titer: | 1:64000 | <1:1000 |

Starting dilution:  1:1000 (equivalent to 2 µg/ml)

The titer is the highest dilution with S/B (Signal/Blank) ≥ 2.1

- Assay: Western blotting

Tested antigens:	1 	spore coat extract of C. difficile SH1

2 	spore coat extract of B. subtilis (negative control)

Primary antibody: 	rabbit anti-C. difficile SH1 spore polyclonal antibody (SPG03), dilution 1:1000

Secondary antibody: 	anti-Rabbit IgG (A9169, Sigma), dilution 1:5000

90kDA

34kDA

50kDA

26kDA

20kDA

120kDA

1              2

Lane 1: spore coat protein extract of C. difficile SH1

Lane 2: spore coat protein extract of B. subtilis (negative control)

Figure 1. Western blot for spore coat proteins